Example checklists for Audits

Use these samples or draft your own energy audit checklist

[Organization Name] – [Facility Name]

Sample Energy Audit Checklist

Lighting:

- Is your facility if using the most energy efficient lighting options?

- Are there areas that have unnecessary lighting?

- Are you making use of natural sunlight?

- Does facility use current available lighting effectively?

- Have you installed lighting management equipment such as dimmers, timers and sensors?

Building Envelope:

- Do you rent or own your facility?

- Is the property owner willing to support energy efficient improvements?

- Is the building well insulated?

- Does weather stripping around doors and windows need to be replaced?

- Are there open doors around loading docks, refrigerated storage, or other frequently accessed areas?

Heating and Cooling:

- Are furnaces, boilers and air conditioning systems operating efficiently?

- Do you have a regular maintenance and update schedule for these and other systems?

- Are filters replaced regularly?

- Is the building properly ventilated?

Motors and Equipment:

- Is your equipment maintained so that it is operating at maximum efficiency?

- Is equipment load compatible with manufacturer specifications?

- Are machines shut down when not in use?

- Are fan belts at the proper tension and in good condition?

Energy Behavior:

- Are lights, fans and equipment (computer, printers, etc.) turned off when not in use?

- Are building temperatures set back when not in use?

- Are thermostats set to higher or lower than necessary in summer and winter?

Also, the following guide from the Bonneville Power Administration has a more comprehensive example:  http://www.bpa.gov/Energy/N/industrial/pdf/audit_guide.pdf